## Resumen
RESUMEN DEL ARCHIVO DBC
Archivo: | IP_JZ - CAN CATL.dbc
Ruta completa: | C:\haranzales\OneDrive - Superpolo S.A.S\Gestion Humana\Ingeniero de Software Embebido\A - Repositorios\Analisis-Senales-CAN\Datos\DBC\IP_JZ - CAN CATL.dbc
ESTADÍSTICAS:
Total de nodos: | 1416
Total de mensajes: | 23
Total de señales: | 162
Total de tablas de valores: | 52
Total de atributos: | 3
Total de comentarios: | 0

## Mensajes
Información detallada de todos los mensajes CAN en el archivo DBC
ID | ID_Hex | Nombre | Tamaño (bytes) | Nodo | Num_Señales
2566889472 | 0x98FFA000 | Prueba_TCell_VCell | 8 | Vector__XXX | 4
2550330351 | 0x9802F3EF | V2B_CMD | 8 | Vector__XXX | 25
2550395887 | 0x9803F3EF | V2B_IsolationInfo | 8 | Vector__XXX | 4
2565009395 | 0x98E2EFF3 | B2V_BattInfo1 | 8 | Vector__XXX | 8
2565074931 | 0x98E3EFF3 | B2V_BattInfo2 | 8 | Vector__XXX | 7
2565140467 | 0x98E4EFF3 | B2V_BattInfo3 | 8 | Vector__XXX | 6
2562846707 | 0x98C1EFF3 | B2V_UCell | 8 | Vector__XXX | 4
2562912243 | 0x98C2EFF3 | B2V_Temp | 8 | Vector__XXX | 7
2558652403 | 0x9881EFF3 | B2V_Fault1 | 8 | Vector__XXX | 10
2558717939 | 0x9882EFF3 | B2V_Fault2 | 8 | Vector__XXX | 28
2558783475 | 0x9883EFF3 | B2V_ST1 | 8 | Vector__XXX | 13
2558849011 | 0x9884EFF3 | B2V_ST2 | 8 | Vector__XXX | 8
2558914547 | 0x9885EFF3 | B2V_ST3 | 8 | Vector__XXX | 4
2558980083 | 0x9886EFF3 | B2V_ST4 | 8 | Vector__XXX | 7
2559045619 | 0x9887EFF3 | B2V_ST5 | 8 | Vector__XXX | 3
2559111155 | 0x9888EFF3 | B2V_ST6 | 8 | Vector__XXX | 4
2562977779 | 0x98C3EFF3 | B2V_ElectricEnergy | 8 | Vector__XXX | 3
2563043315 | 0x98C4EFF3 | B2V_CurrentLimit | 8 | Vector__XXX | 2
2550224627 | 0x980156F3 | B2C_Charger | 8 | Vector__XXX | 4
2566866420 | 0x98FF45F4 | B2TM_Info | 8 | Vector__XXX | 2
2566897978 | 0x98FFC13A | TM2B_Info | 8 | Vector__XXX | 5
2563108851 | 0x98C5EFF3 | B2V_ChargeInfo | 8 | Vector__XXX | 3
2550461423 | 0x9804F3EF | V2B_ChargeStatus | 8 | Vector__XXX | 1

## Señales
Información detallada de todas las señales CAN en el archivo DBC
Mensaje_ID | Mensaje_ID_Hex | Mensaje_Nombre | Señal_Nombre | Bit_Inicio | Longitud | Endianness | Signo | Factor | Offset | Valor_Min | Valor_Max | Unidad | Receptores | Tabla_Valores
2566889472 | 0x98FFA000 | Prueba_TCell_VCell | VCell_Maxima | 7 | 16 | Big Endian | Unsigned | 1 | 0 | 0 | 5000 | mV | Vector__XXX
2566889472 | 0x98FFA000 | Prueba_TCell_VCell | VCell_Minima | 23 | 16 | Big Endian | Unsigned | 1 | 0 | 0 | 5000 | mV | Vector__XXX
2566889472 | 0x98FFA000 | Prueba_TCell_VCell | TCell_Maxima | 39 | 8 | Big Endian | Signed | 1 | -40 | -168 | 87 | ºC | Vector__XXX
2566889472 | 0x98FFA000 | Prueba_TCell_VCell | TCell_Minima | 47 | 8 | Big Endian | Signed | 1 | -40 | -168 | 87 | ºC | Vector__XXX
2550330351 | 0x9802F3EF | V2B_CMD | LifeSignal | 0 | 8 | Little Endian | Unsigned | 1 | 0 | 0 | 255 |  | Vector__XXX
2550330351 | 0x9802F3EF | V2B_CMD | HV_OnOff_Cmd | 8 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Power On; 2:Power Off; 3:Invalid
2550330351 | 0x9802F3EF | V2B_CMD | Aux1_OnOff | 10 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Power On; 2:Power Off; 3:Invalid
2550330351 | 0x9802F3EF | V2B_CMD | Aux2_OnOff | 12 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Power On; 2:Power Off; 3:Invalid
2550330351 | 0x9802F3EF | V2B_CMD | Aux3_OnOff | 14 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Power On; 2:Power Off; 3:Invalid
2550330351 | 0x9802F3EF | V2B_CMD | Vehicle_Speed | 16 | 8 | Little Endian | Unsigned | 1 | 0 | 0 | 255 | km/h | Vector__XXX
2550330351 | 0x9802F3EF | V2B_CMD | MainPosRelay_Status | 24 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Opened; 2:Closed; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | MainPosRelay_Fault | 26 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Weld; 2:Opened Fault; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | MainNegRelay_Status | 28 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Opened; 2:Closed; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | MainNegRelay_Fault | 30 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Weld; 2:Opened Fault; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | ChargePosRelay_Status | 32 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Opened; 2:Closed; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | ChargePosRelay_Fault | 34 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Weld; 2:Opened Fault; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | HeatPosRelay_Status | 36 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Opened; 2:Closed; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | HeatPosRelay_Fault | 38 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Weld; 2:Opened Fault; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | HeatNegRelay_Status | 40 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Opened; 2:Closed; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | HeatNegRelay_Fault | 42 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Weld; 2:Opened Fault; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | AuxRelay1_Status | 44 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Opened; 2:Closed; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | AuxRelay1_Fault | 46 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Weld; 2:Opened Fault; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | AuxRelay2_Status | 48 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Opened; 2:Closed; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | AuxRelay2_Fault | 50 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Weld; 2:Opened Fault; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | AuxRelay3_Status | 52 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Opened; 2:Closed; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | AuxRelay3_Fault | 54 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Weld; 2:Opened Fault; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | AuxRelay4_Status | 56 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Opened; 2:Closed; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | AuxRelay4_Fault | 58 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Weld; 2:Opened Fault; 3:Signal Invalid
2550330351 | 0x9802F3EF | V2B_CMD | VehicleChargeCtrl_Cmd | 60 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX
2550395887 | 0x9803F3EF | V2B_IsolationInfo | ISO_WorkSts | 0 | 4 | Little Endian | Unsigned | 1 | 0 | 0 | 15 |  | Vector__XXX | 0:Selfcheck; 1:Working; 2:Stop Work; 3:Equipment failure
2550395887 | 0x9803F3EF | V2B_IsolationInfo | ISO_FaultLevel | 4 | 4 | Little Endian | Unsigned | 1 | 0 | 0 | 15 |  | Vector__XXX | 0:Normal; 1:Level 1 - Light Fault; 2:Level 2 - More Severe Fault; 3:Level 3 - Most Severe Fault
2550395887 | 0x9803F3EF | V2B_IsolationInfo | ISO_PositiveResist | 8 | 16 | Little Endian | Unsigned | 1 | 0 | 0 | 60000 | kOhm | Vector__XXX
2550395887 | 0x9803F3EF | V2B_IsolationInfo | ISO_NegativeResis | 24 | 16 | Little Endian | Unsigned | 1 | 0 | 0 | 60000 | kOhm | Vector__XXX
2565009395 | 0x98E2EFF3 | B2V_BattInfo1 | RatedCapacity | 0 | 16 | Little Endian | Unsigned | 0.1 | 0 | 0 | 6553.5 | Ah | Vector__XXX
2565009395 | 0x98E2EFF3 | B2V_BattInfo1 | RatedVoltage | 16 | 16 | Little Endian | Unsigned | 0.1 | 0 | 0 | 6553.5 | V | Vector__XXX
2565009395 | 0x98E2EFF3 | B2V_BattInfo1 | RatedEnergy | 32 | 16 | Little Endian | Unsigned | 0.1 | 0 | 0 | 6553.5 | kW | Vector__XXX
2565009395 | 0x98E2EFF3 | B2V_BattInfo1 | BatteryType | 48 | 4 | Little Endian | Unsigned | 1 | 0 | 0 | 15 |  | Vector__XXX | 1:Lead-Acid; 2:MH; 3:LEP; 6:NCM; 7:LiPo; 9:Super-Capacitor; 14:Fuel
2565009395 | 0x98E2EFF3 | B2V_BattInfo1 | CoolingType | 52 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Other; 1:Natural; 2:Fan; 3:Water
2565009395 | 0x98E2EFF3 | B2V_BattInfo1 | BattManufacture | 54 | 4 | Little Endian | Unsigned | 1 | 0 | 0 | 15 |  | Vector__XXX
2565009395 | 0x98E2EFF3 | B2V_BattInfo1 | ProtocolEdition_High | 58 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX
2565009395 | 0x98E2EFF3 | B2V_BattInfo1 | ProtocolEdition_Low | 60 | 4 | Little Endian | Unsigned | 1 | 0 | 0 | 15 |  | Vector__XXX
2565074931 | 0x98E3EFF3 | B2V_BattInfo2 | TotalCSCNumber | 0 | 8 | Little Endian | Unsigned | 1 | 0 | 0 | 255 |  | Vector__XXX
2565074931 | 0x98E3EFF3 | B2V_BattInfo2 | TotalCellNumber | 8 | 16 | Little Endian | Unsigned | 1 | 0 | 0 | 65535 |  | Vector__XXX
2565074931 | 0x98E3EFF3 | B2V_BattInfo2 | TotalTempProbeNum | 24 | 8 | Little Endian | Unsigned | 1 | 0 | 0 | 255 |  | Vector__XXX
2565074931 | 0x98E3EFF3 | B2V_BattInfo2 | HVBranchNumber | 32 | 8 | Little Endian | Unsigned | 1 | 0 | 0 | 255 |  | Vector__XXX
2565074931 | 0x98E3EFF3 | B2V_BattInfo2 | SingleHVBranchCellNum | 40 | 8 | Little Endian | Unsigned | 1 | 0 | 0 | 255 |  | Vector__XXX
2565074931 | 0x98E3EFF3 | B2V_BattInfo2 | BattSystemNumber | 48 | 8 | Little Endian | Unsigned | 1 | 0 | 0 | 255 |  | Vector__XXX
2565074931 | 0x98E3EFF3 | B2V_BattInfo2 | BattSystSeqNumber | 56 | 8 | Little Endian | Unsigned | 1 | 0 | 0 | 255 |  | Vector__XXX
2565140467 | 0x98E4EFF3 | B2V_BattInfo3 | PackAvailMaxVolt | 0 | 16 | Little Endian | Unsigned | 0.1 | 0 | 0 | 6553.5 | V | Vector__XXX
2565140467 | 0x98E4EFF3 | B2V_BattInfo3 | PackAvailMinVolt | 16 | 16 | Little Endian | Unsigned | 0.1 | 0 | 0 | 6553.5 | V | Vector__XXX
2565140467 | 0x98E4EFF3 | B2V_BattInfo3 | AvailMaxSOC | 32 | 8 | Little Endian | Unsigned | 0.4 | 0 | 0 | 102 | % | Vector__XXX
2565140467 | 0x98E4EFF3 | B2V_BattInfo3 | AvailMinSOC | 40 | 8 | Little Endian | Unsigned | 0.4 | 0 | 0 | 102 | % | Vector__XXX
2565140467 | 0x98E4EFF3 | B2V_BattInfo3 | AvailMaxTemp | 48 | 8 | Little Endian | Unsigned | 1 | -40 | -40 | 215 | ºC | Vector__XXX
2565140467 | 0x98E4EFF3 | B2V_BattInfo3 | AvailMinTemp | 56 | 8 | Little Endian | Unsigned | 1 | -40 | -40 | 215 | ºC | Vector__XXX
2562846707 | 0x98C1EFF3 | B2V_UCell | FrameNo | 0 | 16 | Little Endian | Unsigned | 1 | 0 | 0 | 65535 |  | Vector__XXX
2562846707 | 0x98C1EFF3 | B2V_UCell | CellVolt_N1 | 16 | 16 | Little Endian | Unsigned | 0.001 | 0 | 0 | 65.535 | V | Vector__XXX
2562846707 | 0x98C1EFF3 | B2V_UCell | CellVolt_N2 | 32 | 16 | Little Endian | Unsigned | 0.001 | 0 | 0 | 65.535 | V | Vector__XXX
2562846707 | 0x98C1EFF3 | B2V_UCell | CellVolt_N3 | 48 | 16 | Little Endian | Unsigned | 0.001 | 0 | 0 | 65.535 | V | Vector__XXX
2562912243 | 0x98C2EFF3 | B2V_Temp | FrameNo | 0 | 16 | Little Endian | Unsigned | 1 | 0 | 0 | 65535 |  | Vector__XXX
2562912243 | 0x98C2EFF3 | B2V_Temp | CellTemp_N1 | 16 | 8 | Little Endian | Unsigned | 1 | -40 | -40 | 215 | ºC | Vector__XXX
2562912243 | 0x98C2EFF3 | B2V_Temp | CellTemp_N2 | 24 | 8 | Little Endian | Unsigned | 1 | -40 | -40 | 215 | ºC | Vector__XXX
2562912243 | 0x98C2EFF3 | B2V_Temp | CellTemp_N3 | 32 | 8 | Little Endian | Unsigned | 1 | -40 | -40 | 215 | ºC | Vector__XXX
2562912243 | 0x98C2EFF3 | B2V_Temp | CellTemp_N4 | 40 | 8 | Little Endian | Unsigned | 1 | -40 | -40 | 215 | ºC | Vector__XXX
2562912243 | 0x98C2EFF3 | B2V_Temp | CellTemp_N5 | 48 | 8 | Little Endian | Unsigned | 1 | -40 | -40 | 215 | ºC | Vector__XXX
2562912243 | 0x98C2EFF3 | B2V_Temp | CellTemp_N6 | 56 | 8 | Little Endian | Unsigned | 1 | -40 | -40 | 215 |  | Vector__XXX
2558652403 | 0x9881EFF3 | B2V_Fault1 | Fult1_DeltaTemp | 2 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Level 1 - Light Fault; 2:Level 2 - More Severe Fault; 3:Level 3 - Most Severe Fault
2558652403 | 0x9881EFF3 | B2V_Fault1 | Fult1_OverTemp | 4 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Level 1 - Light Fault; 2:Level 2 - More Severe Fault; 3:Level 3 - Most Severe Fault
2558652403 | 0x9881EFF3 | B2V_Fault1 | Fult1_PackOverHVolt | 6 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Level 1 - Light Fault; 2:Level 2 - More Severe Fault; 3:Level 3 - Most Severe Fault
2558652403 | 0x9881EFF3 | B2V_Fault1 | Fult1_PackLowHVVolt | 8 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Level 1 - Light Fault; 2:Level 2 - More Severe Fault; 3:Level 3 - Most Severe Fault
2558652403 | 0x9881EFF3 | B2V_Fault1 | Fult1_LowSOC | 10 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Level 1 - Light Fault; 2:Level 2 - More Severe Fault; 3:Level 3 - Most Severe Fault
2558652403 | 0x9881EFF3 | B2V_Fault1 | Fult1_OverUcell | 12 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Level 1 - Light Fault; 2:Level 2 - More Severe Fault; 3:Level 3 - Most Severe Fault
2558652403 | 0x9881EFF3 | B2V_Fault1 | Fult1_LowUcell | 14 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX
2558652403 | 0x9881EFF3 | B2V_Fault1 | Fult1_LowInsRes | 16 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Level 1 - Light Fault; 2:Level 2 - More Severe Fault; 3:Level 3 - Most Severe Fault
2558652403 | 0x9881EFF3 | B2V_Fault1 | Fult1_UcellUniformity | 18 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Level 1 - Light Fault; 2:Level 2 - More Severe Fault; 3:Level 3 - Most Severe Fault
2558652403 | 0x9881EFF3 | B2V_Fault1 | HVIL_Alarm | 26 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_FaultNum | 0 | 8 | Little Endian | Unsigned | 1 | 0 | 0 | 255 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_CellOverDisch | 8 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_CellLowTemp | 9 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_PackFireWarning | 10 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_OverDischrgCurr | 11 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Level 1 - Light Fault; 2:Level 2 - More Severe Fault; 3:Level 3 - Most Severe Fault
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_OverChgCurrDrive | 13 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Level 1 - Light Fault; 2:Level 2 - More Severe Fault; 3:Level 3 - Most Severe Fault
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_CurrSensorErr | 15 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_PwrSupplyErr | 16 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_TMSErr | 17 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_HeatingFilmErr | 18 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_PackSelfProtect | 19 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_MainLoopPrechargeErr | 20 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_ACANLost | 23 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_InnerCommsErr | 24 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_BranchBrkErr | 26 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_HeatRelayOpenErr | 27 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_HeatRelayWeldErr | 28 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_MainPosRelayOpenErr | 29 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_MainNegRelayOpenErr | 31 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_MainNegRelayWeldErr | 32 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_MainPosRelayWeldErr | 30 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_DCChgPos1RelayOpenErr | 33 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_DCChgPos1RelayWeldErr | 34 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_DCChgNeg1RelayOpenErr | 35 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_DCChgNeg1RelayWeldErr | 36 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_OverDischCurrCharging | 50 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_OverChgCurrCharging | 51 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558717939 | 0x9882EFF3 | B2V_Fault2 | Fult2_SOCDifferErr | 59 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558783475 | 0x9883EFF3 | B2V_ST1 | ST1_MainPosRelaySts | 0 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Opened; 2:Closed; 3:Signal Invalid
2558783475 | 0x9883EFF3 | B2V_ST1 | ST1_MainNegRelaySts | 2 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Opened; 2:Closed; 3:Signal Invalid
2558783475 | 0x9883EFF3 | B2V_ST1 | ST1_PrechargeRelaySts | 4 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Opened; 2:Closed; 3:Signal Invalid
2558783475 | 0x9883EFF3 | B2V_ST1 | ST1_DCChargePos1RelaySts | 6 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Opened; 2:Closed; 3:Signal Invalid
2558783475 | 0x9883EFF3 | B2V_ST1 | ST1_DCChargeNeg1RelaySts | 8 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Opened; 2:Closed; 3:Signal Invalid
2558783475 | 0x9883EFF3 | B2V_ST1 | ST1_HeatPosRelaySts | 14 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Opened; 2:Closed; 3:Signal Invalid
2558783475 | 0x9883EFF3 | B2V_ST1 | ST1_HeatNegRelaySts | 16 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Reserved; 1:Opened; 2:Closed; 3:Signal Invalid
2558783475 | 0x9883EFF3 | B2V_ST1 | ST1_BMS_HVStatus | 32 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:HV Open; 1:Precharge or Precheck; 2:HV Closed; 3:Fail to HV on
2558783475 | 0x9883EFF3 | B2V_ST1 | ST1_BMS_BalanceStatus | 34 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558783475 | 0x9883EFF3 | B2V_ST1 | ST1_ChargeMode | 39 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Not charging; 1:DC Charging; 2:AC Charging; 3:Other Charging
2558783475 | 0x9883EFF3 | B2V_ST1 | ST1_ChargeStatus | 41 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX
2558783475 | 0x9883EFF3 | B2V_ST1 | ST1_RechargeCycles | 46 | 18 | Little Endian | Unsigned | 1 | 0 | 0 | 262143 |  | Vector__XXX
2558783475 | 0x9883EFF3 | B2V_ST1 | ST1_HeatingStatus | 43 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558849011 | 0x9884EFF3 | B2V_ST2 | ST2_SOC | 0 | 8 | Little Endian | Unsigned | 0.4 | 0 | 0 | 100 | % | Vector__XXX
2558849011 | 0x9884EFF3 | B2V_ST2 | ST2_SOH | 8 | 8 | Little Endian | Unsigned | 0.4 | 0 | 0 | 100 | % | Vector__XXX
2558849011 | 0x9884EFF3 | B2V_ST2 | ST2_PackCurrent | 16 | 16 | Little Endian | Unsigned | 0.1 | -1000 | -1000 | 1000 | A | Vector__XXX
2558849011 | 0x9884EFF3 | B2V_ST2 | ST2_PackInsideVolt | 32 | 16 | Little Endian | Unsigned | 0.1 | 0 | 0 | 6553.5 | V | Vector__XXX
2558849011 | 0x9884EFF3 | B2V_ST2 | ST2_FaultCode | 48 | 8 | Little Endian | Unsigned | 1 | 0 | 0 | 255 |  | Vector__XXX
2558849011 | 0x9884EFF3 | B2V_ST2 | ST2_FaultLevel | 56 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Normal; 1:Weld; 2:Opened Fault; 3:Signal Invalid
2558849011 | 0x9884EFF3 | B2V_ST2 | ST2_ReqHVPwrOff | 58 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Signal Invalid; 1:Require Power Off; 2:Not Require Power Off; 3:Signal Invalid
2558849011 | 0x9884EFF3 | B2V_ST2 | ST2_Life | 60 | 4 | Little Endian | Unsigned | 1 | 0 | 0 | 15 |  | Vector__XXX
2558914547 | 0x9885EFF3 | B2V_ST3 | ST3_PosInsResist | 0 | 16 | Little Endian | Unsigned | 1 | 0 | 0 | 60000 | kOhm | Vector__XXX
2558914547 | 0x9885EFF3 | B2V_ST3 | ST3_NegInsResist | 16 | 16 | Little Endian | Unsigned | 1 | 0 | 0 | 60000 | kOhm | Vector__XXX
2558914547 | 0x9885EFF3 | B2V_ST3 | ST3_SystemInsResist | 32 | 16 | Little Endian | Unsigned | 1 | 0 | 0 | 60000 | kOhm | Vector__XXX
2558914547 | 0x9885EFF3 | B2V_ST3 | ST3_InsDetectorSts | 48 | 1 | Little Endian | Unsigned | 1 | 0 | 0 | 1 |  | Vector__XXX
2558980083 | 0x9886EFF3 | B2V_ST4 | ST4_Max_Temp | 0 | 8 | Little Endian | Unsigned | 1 | -40 | -40 | 215 | ºC | Vector__XXX
2558980083 | 0x9886EFF3 | B2V_ST4 | ST4_Min_Temp | 8 | 8 | Little Endian | Unsigned | 1 | -40 | -40 | 215 | ºC | Vector__XXX
2558980083 | 0x9886EFF3 | B2V_ST4 | ST4_Avg_Temp | 16 | 8 | Little Endian | Unsigned | 1 | -40 | -40 | 215 | ºC | Vector__XXX
2558980083 | 0x9886EFF3 | B2V_ST4 | ST4_MaxTemp_CSCNo | 24 | 8 | Little Endian | Unsigned | 1 | 0 | 0 | 255 |  | Vector__XXX
2558980083 | 0x9886EFF3 | B2V_ST4 | ST4_MaxTemp_Pos | 32 | 8 | Little Endian | Unsigned | 1 | 0 | 0 | 255 |  | Vector__XXX
2558980083 | 0x9886EFF3 | B2V_ST4 | ST4_MinTemp_CSCNo | 40 | 8 | Little Endian | Unsigned | 1 | 0 | 0 | 255 |  | Vector__XXX
2558980083 | 0x9886EFF3 | B2V_ST4 | ST4_MinTemp_Pos | 48 | 8 | Little Endian | Unsigned | 1 | 0 | 0 | 255 |  | Vector__XXX
2559045619 | 0x9887EFF3 | B2V_ST5 | Max_UCell | 0 | 16 | Little Endian | Unsigned | 0.001 | 0 | 0 | 65.535 | V | Vector__XXX
2559045619 | 0x9887EFF3 | B2V_ST5 | Min_UCell | 16 | 16 | Little Endian | Unsigned | 0.001 | 0 | 0 | 65.535 | V | Vector__XXX
2559045619 | 0x9887EFF3 | B2V_ST5 | Avg_UCell | 32 | 16 | Little Endian | Unsigned | 0.001 | 0 | 0 | 65.535 | V | Vector__XXX
2559111155 | 0x9888EFF3 | B2V_ST6 | ST6_MaxUcell_CSCNo | 0 | 8 | Little Endian | Unsigned | 1 | 0 | 0 | 255 |  | Vector__XXX
2559111155 | 0x9888EFF3 | B2V_ST6 | ST6_MaxUcellPos | 8 | 16 | Little Endian | Unsigned | 1 | 0 | 0 | 65535 |  | Vector__XXX
2559111155 | 0x9888EFF3 | B2V_ST6 | ST6_MinUcell_CSCNo | 24 | 8 | Little Endian | Unsigned | 1 | 0 | 0 | 255 |  | Vector__XXX
2559111155 | 0x9888EFF3 | B2V_ST6 | ST6_MinUcellPos | 32 | 16 | Little Endian | Unsigned | 1 | 0 | 0 | 65535 |  | Vector__XXX
2562977779 | 0x98C3EFF3 | B2V_ElectricEnergy | TotalChargeEnergy | 0 | 24 | Little Endian | Unsigned | 1 | 0 | 0 | 16777215 | kWh | Vector__XXX
2562977779 | 0x98C3EFF3 | B2V_ElectricEnergy | TotalDischargeEnergy | 24 | 24 | Little Endian | Unsigned | 1 | 0 | 0 | 16777215 | kW | Vector__XXX
2562977779 | 0x98C3EFF3 | B2V_ElectricEnergy | SingleDischargeEnergy | 48 | 16 | Little Endian | Unsigned | 0.1 | 0 | 0 | 6553.5 | kWh | Vector__XXX
2563043315 | 0x98C4EFF3 | B2V_CurrentLimit | AvailInPulseDischCurr | 0 | 16 | Little Endian | Unsigned | 0.1 | 0 | 0 | 6553.5 | A | Vector__XXX
2563043315 | 0x98C4EFF3 | B2V_CurrentLimit | AvailInPulseChargeCurr | 16 | 16 | Little Endian | Unsigned | 0.1 | 0 | 0 | 6553.5 | A | Vector__XXX
2550224627 | 0x980156F3 | B2C_Charger | VoltageSet | 0 | 16 | Little Endian | Unsigned | 0.1 | 0 | 0 | 6553.5 | V | Vector__XXX
2550224627 | 0x980156F3 | B2C_Charger | CurrentSet | 16 | 16 | Little Endian | Unsigned | 0.1 | 0 | 0 | 6553.5 | A | Vector__XXX
2550224627 | 0x980156F3 | B2C_Charger | ChargeStatus | 32 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 1:Charging enabled; 2:Charging disabled; 3:Signal invalid
2550224627 | 0x980156F3 | B2C_Charger | ChargeStopReason | 34 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 1:VCU Stop Reason; 2:BMS Stop Charging; 3:Signal Invalid
2566866420 | 0x98FF45F4 | B2TM_Info | RQ_SetMode_A | 1 | 2 | Big Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Shutdown mode; 1:Cooling mode; 2:Heat mode; 3:Self-loop mode
2566866420 | 0x98FF45F4 | B2TM_Info | B2T_SetTemp_A | 39 | 8 | Big Endian | Unsigned | 1 | -40 | -40 | 215 | ºC | Vector__XXX
2566897978 | 0x98FFC13A | TM2B_Info | T2B_WorkStatus_A | 1 | 2 | Big Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX
2566897978 | 0x98FFC13A | TM2B_Info | TM2B_OutletTemp_A | 15 | 8 | Big Endian | Unsigned | 1 | -40 | -40 | 215 | ºC | Vector__XXX
2566897978 | 0x98FFC13A | TM2B_Info | TM2B_InletTemp_A | 23 | 8 | Big Endian | Unsigned | 1 | -40 | -40 | 215 | ºC | Vector__XXX
2566897978 | 0x98FFC13A | TM2B_Info | TM2B_FaultCodeACAN | 61 | 6 | Big Endian | Unsigned | 1 | 0 | 0 | 63 |  | Vector__XXX
2566897978 | 0x98FFC13A | TM2B_Info | TM2B_FaultLevel_A | 63 | 2 | Big Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX
2563108851 | 0x98C5EFF3 | B2V_ChargeInfo | VoltageSet | 0 | 16 | Little Endian | Unsigned | 0.1 | 0 | 0 | 6553.5 | V | Vector__XXX
2563108851 | 0x98C5EFF3 | B2V_ChargeInfo | CurrentSet | 16 | 16 | Little Endian | Unsigned | 0.1 | 0 | 0 | 6553.5 | A | Vector__XXX
2563108851 | 0x98C5EFF3 | B2V_ChargeInfo | ChrgCtrl | 32 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Start to charge; 1:Normal Stop to charge ; 2:Fault, Stop to charge
2550461423 | 0x9804F3EF | V2B_ChargeStatus | ChgStart_Cmd | 36 | 2 | Little Endian | Unsigned | 1 | 0 | 0 | 3 |  | Vector__XXX | 0:Not charging; 1:Allow charging; 2:Stop charging; 3:Invalid

## Nodos
Lista de todos los nodos definidos en el archivo DBC
Index | Nombre | Num_Mensajes
1 | BU_: | 0
2 | Vector__XXX | 23
3 | BO_ | 0
4 | 2566889472 | 0
5 | Prueba_TCell_VCell: | 0
6 | 8 | 0
7 | Vector__XXX | 23
8 | SG_ | 0
9 | VCell_Maxima | 0
10 | : | 0
11 | 7¦16@0+ | 0
12 | (1,0) | 0
13 | [0¦5000] | 0
14 | "mV" | 0
15 | Vector__XXX | 23
16 | SG_ | 0
17 | VCell_Minima | 0
18 | : | 0
19 | 23¦16@0+ | 0
20 | (1,0) | 0
21 | [0¦5000] | 0
22 | "mV" | 0
23 | Vector__XXX | 23
24 | SG_ | 0
25 | TCell_Maxima | 0
26 | : | 0
27 | 39¦8@0- | 0
28 | (1,-40) | 0
29 | [-168¦87] | 0
30 | "ºC" | 0
31 | Vector__XXX | 23
32 | SG_ | 0
33 | TCell_Minima | 0
34 | : | 0
35 | 47¦8@0- | 0
36 | (1,-40) | 0
37 | [-168¦87] | 0
38 | "ºC" | 0
39 | Vector__XXX | 23
40 | BO_ | 0
41 | 2550330351 | 0
42 | V2B_CMD: | 0
43 | 8 | 0
44 | Vector__XXX | 23
45 | SG_ | 0
46 | LifeSignal | 0
47 | : | 0
48 | 0¦8@1+ | 0
49 | (1,0) | 0
50 | [0¦255] | 0
51 | "" | 0
52 | Vector__XXX | 23
53 | SG_ | 0
54 | HV_OnOff_Cmd | 0
55 | : | 0
56 | 8¦2@1+ | 0
57 | (1,0) | 0
58 | [0¦3] | 0
59 | "" | 0
60 | Vector__XXX | 23
61 | SG_ | 0
62 | Aux1_OnOff | 0
63 | : | 0
64 | 10¦2@1+ | 0
65 | (1,0) | 0
66 | [0¦3] | 0
67 | "" | 0
68 | Vector__XXX | 23
69 | SG_ | 0
70 | Aux2_OnOff | 0
71 | : | 0
72 | 12¦2@1+ | 0
73 | (1,0) | 0
74 | [0¦3] | 0
75 | "" | 0
76 | Vector__XXX | 23
77 | SG_ | 0
78 | Aux3_OnOff | 0
79 | : | 0
80 | 14¦2@1+ | 0
81 | (1,0) | 0
82 | [0¦3] | 0
83 | "" | 0
84 | Vector__XXX | 23
85 | SG_ | 0
86 | Vehicle_Speed | 0
87 | : | 0
88 | 16¦8@1+ | 0
89 | (1,0) | 0
90 | [0¦255] | 0
91 | "km/h" | 0
92 | Vector__XXX | 23
93 | SG_ | 0
94 | MainPosRelay_Status | 0
95 | : | 0
96 | 24¦2@1+ | 0
97 | (1,0) | 0
98 | [0¦3] | 0
99 | "" | 0
100 | Vector__XXX | 23
101 | SG_ | 0
102 | MainPosRelay_Fault | 0
103 | : | 0
104 | 26¦2@1+ | 0
105 | (1,0) | 0
106 | [0¦3] | 0
107 | "" | 0
108 | Vector__XXX | 23
109 | SG_ | 0
110 | MainNegRelay_Status | 0
111 | : | 0
112 | 28¦2@1+ | 0
113 | (1,0) | 0
114 | [0¦3] | 0
115 | "" | 0
116 | Vector__XXX | 23
117 | SG_ | 0
118 | MainNegRelay_Fault | 0
119 | : | 0
120 | 30¦2@1+ | 0
121 | (1,0) | 0
122 | [0¦3] | 0
123 | "" | 0
124 | Vector__XXX | 23
125 | SG_ | 0
126 | ChargePosRelay_Status | 0
127 | : | 0
128 | 32¦2@1+ | 0
129 | (1,0) | 0
130 | [0¦3] | 0
131 | "" | 0
132 | Vector__XXX | 23
133 | SG_ | 0
134 | ChargePosRelay_Fault | 0
135 | : | 0
136 | 34¦2@1+ | 0
137 | (1,0) | 0
138 | [0¦3] | 0
139 | "" | 0
140 | Vector__XXX | 23
141 | SG_ | 0
142 | HeatPosRelay_Status | 0
143 | : | 0
144 | 36¦2@1+ | 0
145 | (1,0) | 0
146 | [0¦3] | 0
147 | "" | 0
148 | Vector__XXX | 23
149 | SG_ | 0
150 | HeatPosRelay_Fault | 0
151 | : | 0
152 | 38¦2@1+ | 0
153 | (1,0) | 0
154 | [0¦3] | 0
155 | "" | 0
156 | Vector__XXX | 23
157 | SG_ | 0
158 | HeatNegRelay_Status | 0
159 | : | 0
160 | 40¦2@1+ | 0
161 | (1,0) | 0
162 | [0¦3] | 0
163 | "" | 0
164 | Vector__XXX | 23
165 | SG_ | 0
166 | HeatNegRelay_Fault | 0
167 | : | 0
168 | 42¦2@1+ | 0
169 | (1,0) | 0
170 | [0¦3] | 0
171 | "" | 0
172 | Vector__XXX | 23
173 | SG_ | 0
174 | AuxRelay1_Status | 0
175 | : | 0
176 | 44¦2@1+ | 0
177 | (1,0) | 0
178 | [0¦3] | 0
179 | "" | 0
180 | Vector__XXX | 23
181 | SG_ | 0
182 | AuxRelay1_Fault | 0
183 | : | 0
184 | 46¦2@1+ | 0
185 | (1,0) | 0
186 | [0¦3] | 0
187 | "" | 0
188 | Vector__XXX | 23
189 | SG_ | 0
190 | AuxRelay2_Status | 0
191 | : | 0
192 | 48¦2@1+ | 0
193 | (1,0) | 0
194 | [0¦3] | 0
195 | "" | 0
196 | Vector__XXX | 23
197 | SG_ | 0
198 | AuxRelay2_Fault | 0
199 | : | 0
200 | 50¦2@1+ | 0
201 | (1,0) | 0
202 | [0¦3] | 0
203 | "" | 0
204 | Vector__XXX | 23
205 | SG_ | 0
206 | AuxRelay3_Status | 0
207 | : | 0
208 | 52¦2@1+ | 0
209 | (1,0) | 0
210 | [0¦3] | 0
211 | "" | 0
212 | Vector__XXX | 23
213 | SG_ | 0
214 | AuxRelay3_Fault | 0
215 | : | 0
216 | 54¦2@1+ | 0
217 | (1,0) | 0
218 | [0¦3] | 0
219 | "" | 0
220 | Vector__XXX | 23
221 | SG_ | 0
222 | AuxRelay4_Status | 0
223 | : | 0
224 | 56¦2@1+ | 0
225 | (1,0) | 0
226 | [0¦3] | 0
227 | "" | 0
228 | Vector__XXX | 23
229 | SG_ | 0
230 | AuxRelay4_Fault | 0
231 | : | 0
232 | 58¦2@1+ | 0
233 | (1,0) | 0
234 | [0¦3] | 0
235 | "" | 0
236 | Vector__XXX | 23
237 | SG_ | 0
238 | VehicleChargeCtrl_Cmd | 0
239 | : | 0
240 | 60¦2@1+ | 0
241 | (1,0) | 0
242 | [0¦3] | 0
243 | "" | 0
244 | Vector__XXX | 23
245 | BO_ | 0
246 | 2550395887 | 0
247 | V2B_IsolationInfo: | 0
248 | 8 | 0
249 | Vector__XXX | 23
250 | SG_ | 0
251 | ISO_WorkSts | 0
252 | : | 0
253 | 0¦4@1+ | 0
254 | (1,0) | 0
255 | [0¦15] | 0
256 | "" | 0
257 | Vector__XXX | 23
258 | SG_ | 0
259 | ISO_FaultLevel | 0
260 | : | 0
261 | 4¦4@1+ | 0
262 | (1,0) | 0
263 | [0¦15] | 0
264 | "" | 0
265 | Vector__XXX | 23
266 | SG_ | 0
267 | ISO_PositiveResist | 0
268 | : | 0
269 | 8¦16@1+ | 0
270 | (1,0) | 0
271 | [0¦60000] | 0
272 | "kOhm" | 0
273 | Vector__XXX | 23
274 | SG_ | 0
275 | ISO_NegativeResis | 0
276 | : | 0
277 | 24¦16@1+ | 0
278 | (1,0) | 0
279 | [0¦60000] | 0
280 | "kOhm" | 0
281 | Vector__XXX | 23
282 | BO_ | 0
283 | 2565009395 | 0
284 | B2V_BattInfo1: | 0
285 | 8 | 0
286 | Vector__XXX | 23
287 | SG_ | 0
288 | RatedCapacity | 0
289 | : | 0
290 | 0¦16@1+ | 0
291 | (0.1,0) | 0
292 | [0¦6553.5] | 0
293 | "Ah" | 0
294 | Vector__XXX | 23
295 | SG_ | 0
296 | RatedVoltage | 0
297 | : | 0
298 | 16¦16@1+ | 0
299 | (0.1,0) | 0
300 | [0¦6553.5] | 0
301 | "V" | 0
302 | Vector__XXX | 23
303 | SG_ | 0
304 | RatedEnergy | 0
305 | : | 0
306 | 32¦16@1+ | 0
307 | (0.1,0) | 0
308 | [0¦6553.5] | 0
309 | "kW" | 0
310 | Vector__XXX | 23
311 | SG_ | 0
312 | BatteryType | 0
313 | : | 0
314 | 48¦4@1+ | 0
315 | (1,0) | 0
316 | [0¦15] | 0
317 | "" | 0
318 | Vector__XXX | 23
319 | SG_ | 0
320 | CoolingType | 0
321 | : | 0
322 | 52¦2@1+ | 0
323 | (1,0) | 0
324 | [0¦3] | 0
325 | "" | 0
326 | Vector__XXX | 23
327 | SG_ | 0
328 | BattManufacture | 0
329 | : | 0
330 | 54¦4@1+ | 0
331 | (1,0) | 0
332 | [0¦15] | 0
333 | "" | 0
334 | Vector__XXX | 23
335 | SG_ | 0
336 | ProtocolEdition_High | 0
337 | : | 0
338 | 58¦2@1+ | 0
339 | (1,0) | 0
340 | [0¦3] | 0
341 | "" | 0
342 | Vector__XXX | 23
343 | SG_ | 0
344 | ProtocolEdition_Low | 0
345 | : | 0
346 | 60¦4@1+ | 0
347 | (1,0) | 0
348 | [0¦15] | 0
349 | "" | 0
350 | Vector__XXX | 23
351 | BO_ | 0
352 | 2565074931 | 0
353 | B2V_BattInfo2: | 0
354 | 8 | 0
355 | Vector__XXX | 23
356 | SG_ | 0
357 | TotalCSCNumber | 0
358 | : | 0
359 | 0¦8@1+ | 0
360 | (1,0) | 0
361 | [0¦255] | 0
362 | "" | 0
363 | Vector__XXX | 23
364 | SG_ | 0
365 | TotalCellNumber | 0
366 | : | 0
367 | 8¦16@1+ | 0
368 | (1,0) | 0
369 | [0¦65535] | 0
370 | "" | 0
371 | Vector__XXX | 23
372 | SG_ | 0
373 | TotalTempProbeNum | 0
374 | : | 0
375 | 24¦8@1+ | 0
376 | (1,0) | 0
377 | [0¦255] | 0
378 | "" | 0
379 | Vector__XXX | 23
380 | SG_ | 0
381 | HVBranchNumber | 0
382 | : | 0
383 | 32¦8@1+ | 0
384 | (1,0) | 0
385 | [0¦255] | 0
386 | "" | 0
387 | Vector__XXX | 23
388 | SG_ | 0
389 | SingleHVBranchCellNum | 0
390 | : | 0
391 | 40¦8@1+ | 0
392 | (1,0) | 0
393 | [0¦255] | 0
394 | "" | 0
395 | Vector__XXX | 23
396 | SG_ | 0
397 | BattSystemNumber | 0
398 | : | 0
399 | 48¦8@1+ | 0
400 | (1,0) | 0
401 | [0¦255] | 0
402 | "" | 0
403 | Vector__XXX | 23
404 | SG_ | 0
405 | BattSystSeqNumber | 0
406 | : | 0
407 | 56¦8@1+ | 0
408 | (1,0) | 0
409 | [0¦255] | 0
410 | "" | 0
411 | Vector__XXX | 23
412 | BO_ | 0
413 | 2565140467 | 0
414 | B2V_BattInfo3: | 0
415 | 8 | 0
416 | Vector__XXX | 23
417 | SG_ | 0
418 | PackAvailMaxVolt | 0
419 | : | 0
420 | 0¦16@1+ | 0
421 | (0.1,0) | 0
422 | [0¦6553.5] | 0
423 | "V" | 0
424 | Vector__XXX | 23
425 | SG_ | 0
426 | PackAvailMinVolt | 0
427 | : | 0
428 | 16¦16@1+ | 0
429 | (0.1,0) | 0
430 | [0¦6553.5] | 0
431 | "V" | 0
432 | Vector__XXX | 23
433 | SG_ | 0
434 | AvailMaxSOC | 0
435 | : | 0
436 | 32¦8@1+ | 0
437 | (0.4,0) | 0
438 | [0¦102] | 0
439 | "%" | 0
440 | Vector__XXX | 23
441 | SG_ | 0
442 | AvailMinSOC | 0
443 | : | 0
444 | 40¦8@1+ | 0
445 | (0.4,0) | 0
446 | [0¦102] | 0
447 | "%" | 0
448 | Vector__XXX | 23
449 | SG_ | 0
450 | AvailMaxTemp | 0
451 | : | 0
452 | 48¦8@1+ | 0
453 | (1,-40) | 0
454 | [-40¦215] | 0
455 | "ºC" | 0
456 | Vector__XXX | 23
457 | SG_ | 0
458 | AvailMinTemp | 0
459 | : | 0
460 | 56¦8@1+ | 0
461 | (1,-40) | 0
462 | [-40¦215] | 0
463 | "ºC" | 0
464 | Vector__XXX | 23
465 | BO_ | 0
466 | 2562846707 | 0
467 | B2V_UCell: | 0
468 | 8 | 0
469 | Vector__XXX | 23
470 | SG_ | 0
471 | FrameNo | 0
472 | : | 0
473 | 0¦16@1+ | 0
474 | (1,0) | 0
475 | [0¦65535] | 0
476 | "" | 0
477 | Vector__XXX | 23
478 | SG_ | 0
479 | CellVolt_N1 | 0
480 | : | 0
481 | 16¦16@1+ | 0
482 | (0.001,0) | 0
483 | [0¦65.535] | 0
484 | "V" | 0
485 | Vector__XXX | 23
486 | SG_ | 0
487 | CellVolt_N2 | 0
488 | : | 0
489 | 32¦16@1+ | 0
490 | (0.001,0) | 0
491 | [0¦65.535] | 0
492 | "V" | 0
493 | Vector__XXX | 23
494 | SG_ | 0
495 | CellVolt_N3 | 0
496 | : | 0
497 | 48¦16@1+ | 0
498 | (0.001,0) | 0
499 | [0¦65.535] | 0
500 | "V" | 0
501 | Vector__XXX | 23
502 | BO_ | 0
503 | 2562912243 | 0
504 | B2V_Temp: | 0
505 | 8 | 0
506 | Vector__XXX | 23
507 | SG_ | 0
508 | FrameNo | 0
509 | : | 0
510 | 0¦16@1+ | 0
511 | (1,0) | 0
512 | [0¦65535] | 0
513 | "" | 0
514 | Vector__XXX | 23
515 | SG_ | 0
516 | CellTemp_N1 | 0
517 | : | 0
518 | 16¦8@1+ | 0
519 | (1,-40) | 0
520 | [-40¦215] | 0
521 | "ºC" | 0
522 | Vector__XXX | 23
523 | SG_ | 0
524 | CellTemp_N2 | 0
525 | : | 0
526 | 24¦8@1+ | 0
527 | (1,-40) | 0
528 | [-40¦215] | 0
529 | "ºC" | 0
530 | Vector__XXX | 23
531 | SG_ | 0
532 | CellTemp_N3 | 0
533 | : | 0
534 | 32¦8@1+ | 0
535 | (1,-40) | 0
536 | [-40¦215] | 0
537 | "ºC" | 0
538 | Vector__XXX | 23
539 | SG_ | 0
540 | CellTemp_N4 | 0
541 | : | 0
542 | 40¦8@1+ | 0
543 | (1,-40) | 0
544 | [-40¦215] | 0
545 | "ºC" | 0
546 | Vector__XXX | 23
547 | SG_ | 0
548 | CellTemp_N5 | 0
549 | : | 0
550 | 48¦8@1+ | 0
551 | (1,-40) | 0
552 | [-40¦215] | 0
553 | "ºC" | 0
554 | Vector__XXX | 23
555 | SG_ | 0
556 | CellTemp_N6 | 0
557 | : | 0
558 | 56¦8@1+ | 0
559 | (1,-40) | 0
560 | [-40¦215] | 0
561 | "" | 0
562 | Vector__XXX | 23
563 | BO_ | 0
564 | 2558652403 | 0
565 | B2V_Fault1: | 0
566 | 8 | 0
567 | Vector__XXX | 23
568 | SG_ | 0
569 | Fult1_DeltaTemp | 0
570 | : | 0
571 | 2¦2@1+ | 0
572 | (1,0) | 0
573 | [0¦3] | 0
574 | "" | 0
575 | Vector__XXX | 23
576 | SG_ | 0
577 | Fult1_OverTemp | 0
578 | : | 0
579 | 4¦2@1+ | 0
580 | (1,0) | 0
581 | [0¦3] | 0
582 | "" | 0
583 | Vector__XXX | 23
584 | SG_ | 0
585 | Fult1_PackOverHVolt | 0
586 | : | 0
587 | 6¦2@1+ | 0
588 | (1,0) | 0
589 | [0¦3] | 0
590 | "" | 0
591 | Vector__XXX | 23
592 | SG_ | 0
593 | Fult1_PackLowHVVolt | 0
594 | : | 0
595 | 8¦2@1+ | 0
596 | (1,0) | 0
597 | [0¦3] | 0
598 | "" | 0
599 | Vector__XXX | 23
600 | SG_ | 0
601 | Fult1_LowSOC | 0
602 | : | 0
603 | 10¦2@1+ | 0
604 | (1,0) | 0
605 | [0¦3] | 0
606 | "" | 0
607 | Vector__XXX | 23
608 | SG_ | 0
609 | Fult1_OverUcell | 0
610 | : | 0
611 | 12¦2@1+ | 0
612 | (1,0) | 0
613 | [0¦3] | 0
614 | "" | 0
615 | Vector__XXX | 23
616 | SG_ | 0
617 | Fult1_LowUcell | 0
618 | : | 0
619 | 14¦2@1+ | 0
620 | (1,0) | 0
621 | [0¦3] | 0
622 | "" | 0
623 | Vector__XXX | 23
624 | SG_ | 0
625 | Fult1_LowInsRes | 0
626 | : | 0
627 | 16¦2@1+ | 0
628 | (1,0) | 0
629 | [0¦3] | 0
630 | "" | 0
631 | Vector__XXX | 23
632 | SG_ | 0
633 | Fult1_UcellUniformity | 0
634 | : | 0
635 | 18¦2@1+ | 0
636 | (1,0) | 0
637 | [0¦3] | 0
638 | "" | 0
639 | Vector__XXX | 23
640 | SG_ | 0
641 | HVIL_Alarm | 0
642 | : | 0
643 | 26¦1@1+ | 0
644 | (1,0) | 0
645 | [0¦1] | 0
646 | "" | 0
647 | Vector__XXX | 23
648 | BO_ | 0
649 | 2558717939 | 0
650 | B2V_Fault2: | 0
651 | 8 | 0
652 | Vector__XXX | 23
653 | SG_ | 0
654 | Fult2_FaultNum | 0
655 | : | 0
656 | 0¦8@1+ | 0
657 | (1,0) | 0
658 | [0¦255] | 0
659 | "" | 0
660 | Vector__XXX | 23
661 | SG_ | 0
662 | Fult2_CellOverDisch | 0
663 | : | 0
664 | 8¦1@1+ | 0
665 | (1,0) | 0
666 | [0¦1] | 0
667 | "" | 0
668 | Vector__XXX | 23
669 | SG_ | 0
670 | Fult2_CellLowTemp | 0
671 | : | 0
672 | 9¦1@1+ | 0
673 | (1,0) | 0
674 | [0¦1] | 0
675 | "" | 0
676 | Vector__XXX | 23
677 | SG_ | 0
678 | Fult2_PackFireWarning | 0
679 | : | 0
680 | 10¦1@1+ | 0
681 | (1,0) | 0
682 | [0¦1] | 0
683 | "" | 0
684 | Vector__XXX | 23
685 | SG_ | 0
686 | Fult2_OverDischrgCurr | 0
687 | : | 0
688 | 11¦2@1+ | 0
689 | (1,0) | 0
690 | [0¦3] | 0
691 | "" | 0
692 | Vector__XXX | 23
693 | SG_ | 0
694 | Fult2_OverChgCurrDrive | 0
695 | : | 0
696 | 13¦2@1+ | 0
697 | (1,0) | 0
698 | [0¦3] | 0
699 | "" | 0
700 | Vector__XXX | 23
701 | SG_ | 0
702 | Fult2_CurrSensorErr | 0
703 | : | 0
704 | 15¦1@1+ | 0
705 | (1,0) | 0
706 | [0¦1] | 0
707 | "" | 0
708 | Vector__XXX | 23
709 | SG_ | 0
710 | Fult2_PwrSupplyErr | 0
711 | : | 0
712 | 16¦1@1+ | 0
713 | (1,0) | 0
714 | [0¦1] | 0
715 | "" | 0
716 | Vector__XXX | 23
717 | SG_ | 0
718 | Fult2_TMSErr | 0
719 | : | 0
720 | 17¦1@1+ | 0
721 | (1,0) | 0
722 | [0¦1] | 0
723 | "" | 0
724 | Vector__XXX | 23
725 | SG_ | 0
726 | Fult2_HeatingFilmErr | 0
727 | : | 0
728 | 18¦1@1+ | 0
729 | (1,0) | 0
730 | [0¦1] | 0
731 | "" | 0
732 | Vector__XXX | 23
733 | SG_ | 0
734 | Fult2_PackSelfProtect | 0
735 | : | 0
736 | 19¦1@1+ | 0
737 | (1,0) | 0
738 | [0¦1] | 0
739 | "" | 0
740 | Vector__XXX | 23
741 | SG_ | 0
742 | Fult2_MainLoopPrechargeErr | 0
743 | : | 0
744 | 20¦1@1+ | 0
745 | (1,0) | 0
746 | [0¦1] | 0
747 | "" | 0
748 | Vector__XXX | 23
749 | SG_ | 0
750 | Fult2_ACANLost | 0
751 | : | 0
752 | 23¦1@1+ | 0
753 | (1,0) | 0
754 | [0¦1] | 0
755 | "" | 0
756 | Vector__XXX | 23
757 | SG_ | 0
758 | Fult2_InnerCommsErr | 0
759 | : | 0
760 | 24¦1@1+ | 0
761 | (1,0) | 0
762 | [0¦1] | 0
763 | "" | 0
764 | Vector__XXX | 23
765 | SG_ | 0
766 | Fult2_BranchBrkErr | 0
767 | : | 0
768 | 26¦1@1+ | 0
769 | (1,0) | 0
770 | [0¦1] | 0
771 | "" | 0
772 | Vector__XXX | 23
773 | SG_ | 0
774 | Fult2_HeatRelayOpenErr | 0
775 | : | 0
776 | 27¦1@1+ | 0
777 | (1,0) | 0
778 | [0¦1] | 0
779 | "" | 0
780 | Vector__XXX | 23
781 | SG_ | 0
782 | Fult2_HeatRelayWeldErr | 0
783 | : | 0
784 | 28¦1@1+ | 0
785 | (1,0) | 0
786 | [0¦1] | 0
787 | "" | 0
788 | Vector__XXX | 23
789 | SG_ | 0
790 | Fult2_MainPosRelayOpenErr | 0
791 | : | 0
792 | 29¦1@1+ | 0
793 | (1,0) | 0
794 | [0¦1] | 0
795 | "" | 0
796 | Vector__XXX | 23
797 | SG_ | 0
798 | Fult2_MainNegRelayOpenErr | 0
799 | : | 0
800 | 31¦1@1+ | 0
801 | (1,0) | 0
802 | [0¦1] | 0
803 | "" | 0
804 | Vector__XXX | 23
805 | SG_ | 0
806 | Fult2_MainNegRelayWeldErr | 0
807 | : | 0
808 | 32¦1@1+ | 0
809 | (1,0) | 0
810 | [0¦1] | 0
811 | "" | 0
812 | Vector__XXX | 23
813 | SG_ | 0
814 | Fult2_MainPosRelayWeldErr | 0
815 | : | 0
816 | 30¦1@1+ | 0
817 | (1,0) | 0
818 | [0¦1] | 0
819 | "" | 0
820 | Vector__XXX | 23
821 | SG_ | 0
822 | Fult2_DCChgPos1RelayOpenErr | 0
823 | : | 0
824 | 33¦1@1+ | 0
825 | (1,0) | 0
826 | [0¦1] | 0
827 | "" | 0
828 | Vector__XXX | 23
829 | SG_ | 0
830 | Fult2_DCChgPos1RelayWeldErr | 0
831 | : | 0
832 | 34¦1@1+ | 0
833 | (1,0) | 0
834 | [0¦1] | 0
835 | "" | 0
836 | Vector__XXX | 23
837 | SG_ | 0
838 | Fult2_DCChgNeg1RelayOpenErr | 0
839 | : | 0
840 | 35¦1@1+ | 0
841 | (1,0) | 0
842 | [0¦1] | 0
843 | "" | 0
844 | Vector__XXX | 23
845 | SG_ | 0
846 | Fult2_DCChgNeg1RelayWeldErr | 0
847 | : | 0
848 | 36¦1@1+ | 0
849 | (1,0) | 0
850 | [0¦1] | 0
851 | "" | 0
852 | Vector__XXX | 23
853 | SG_ | 0
854 | Fult2_OverDischCurrCharging | 0
855 | : | 0
856 | 50¦1@1+ | 0
857 | (1,0) | 0
858 | [0¦1] | 0
859 | "" | 0
860 | Vector__XXX | 23
861 | SG_ | 0
862 | Fult2_OverChgCurrCharging | 0
863 | : | 0
864 | 51¦1@1+ | 0
865 | (1,0) | 0
866 | [0¦1] | 0
867 | "" | 0
868 | Vector__XXX | 23
869 | SG_ | 0
870 | Fult2_SOCDifferErr | 0
871 | : | 0
872 | 59¦1@1+ | 0
873 | (1,0) | 0
874 | [0¦1] | 0
875 | "" | 0
876 | Vector__XXX | 23
877 | BO_ | 0
878 | 2558783475 | 0
879 | B2V_ST1: | 0
880 | 8 | 0
881 | Vector__XXX | 23
882 | SG_ | 0
883 | ST1_MainPosRelaySts | 0
884 | : | 0
885 | 0¦2@1+ | 0
886 | (1,0) | 0
887 | [0¦3] | 0
888 | "" | 0
889 | Vector__XXX | 23
890 | SG_ | 0
891 | ST1_MainNegRelaySts | 0
892 | : | 0
893 | 2¦2@1+ | 0
894 | (1,0) | 0
895 | [0¦3] | 0
896 | "" | 0
897 | Vector__XXX | 23
898 | SG_ | 0
899 | ST1_PrechargeRelaySts | 0
900 | : | 0
901 | 4¦2@1+ | 0
902 | (1,0) | 0
903 | [0¦3] | 0
904 | "" | 0
905 | Vector__XXX | 23
906 | SG_ | 0
907 | ST1_DCChargePos1RelaySts | 0
908 | : | 0
909 | 6¦2@1+ | 0
910 | (1,0) | 0
911 | [0¦3] | 0
912 | "" | 0
913 | Vector__XXX | 23
914 | SG_ | 0
915 | ST1_DCChargeNeg1RelaySts | 0
916 | : | 0
917 | 8¦2@1+ | 0
918 | (1,0) | 0
919 | [0¦3] | 0
920 | "" | 0
921 | Vector__XXX | 23
922 | SG_ | 0
923 | ST1_HeatPosRelaySts | 0
924 | : | 0
925 | 14¦2@1+ | 0
926 | (1,0) | 0
927 | [0¦3] | 0
928 | "" | 0
929 | Vector__XXX | 23
930 | SG_ | 0
931 | ST1_HeatNegRelaySts | 0
932 | : | 0
933 | 16¦2@1+ | 0
934 | (1,0) | 0
935 | [0¦3] | 0
936 | "" | 0
937 | Vector__XXX | 23
938 | SG_ | 0
939 | ST1_BMS_HVStatus | 0
940 | : | 0
941 | 32¦2@1+ | 0
942 | (1,0) | 0
943 | [0¦3] | 0
944 | "" | 0
945 | Vector__XXX | 23
946 | SG_ | 0
947 | ST1_BMS_BalanceStatus | 0
948 | : | 0
949 | 34¦1@1+ | 0
950 | (1,0) | 0
951 | [0¦1] | 0
952 | "" | 0
953 | Vector__XXX | 23
954 | SG_ | 0
955 | ST1_ChargeMode | 0
956 | : | 0
957 | 39¦2@1+ | 0
958 | (1,0) | 0
959 | [0¦3] | 0
960 | "" | 0
961 | Vector__XXX | 23
962 | SG_ | 0
963 | ST1_ChargeStatus | 0
964 | : | 0
965 | 41¦2@1+ | 0
966 | (1,0) | 0
967 | [0¦3] | 0
968 | "" | 0
969 | Vector__XXX | 23
970 | SG_ | 0
971 | ST1_RechargeCycles | 0
972 | : | 0
973 | 46¦18@1+ | 0
974 | (1,0) | 0
975 | [0¦262143] | 0
976 | "" | 0
977 | Vector__XXX | 23
978 | SG_ | 0
979 | ST1_HeatingStatus | 0
980 | : | 0
981 | 43¦1@1+ | 0
982 | (1,0) | 0
983 | [0¦1] | 0
984 | "" | 0
985 | Vector__XXX | 23
986 | BO_ | 0
987 | 2558849011 | 0
988 | B2V_ST2: | 0
989 | 8 | 0
990 | Vector__XXX | 23
991 | SG_ | 0
992 | ST2_SOC | 0
993 | : | 0
994 | 0¦8@1+ | 0
995 | (0.4,0) | 0
996 | [0¦100] | 0
997 | "%" | 0
998 | Vector__XXX | 23
999 | SG_ | 0
1000 | ST2_SOH | 0
1001 | : | 0
1002 | 8¦8@1+ | 0
1003 | (0.4,0) | 0
1004 | [0¦100] | 0
1005 | "%" | 0
1006 | Vector__XXX | 23
1007 | SG_ | 0
1008 | ST2_PackCurrent | 0
1009 | : | 0
1010 | 16¦16@1+ | 0
1011 | (0.1,-1000) | 0
1012 | [-1000¦1000] | 0
1013 | "A" | 0
1014 | Vector__XXX | 23
1015 | SG_ | 0
1016 | ST2_PackInsideVolt | 0
1017 | : | 0
1018 | 32¦16@1+ | 0
1019 | (0.1,0) | 0
1020 | [0¦6553.5] | 0
1021 | "V" | 0
1022 | Vector__XXX | 23
1023 | SG_ | 0
1024 | ST2_FaultCode | 0
1025 | : | 0
1026 | 48¦8@1+ | 0
1027 | (1,0) | 0
1028 | [0¦255] | 0
1029 | "" | 0
1030 | Vector__XXX | 23
1031 | SG_ | 0
1032 | ST2_FaultLevel | 0
1033 | : | 0
1034 | 56¦2@1+ | 0
1035 | (1,0) | 0
1036 | [0¦3] | 0
1037 | "" | 0
1038 | Vector__XXX | 23
1039 | SG_ | 0
1040 | ST2_ReqHVPwrOff | 0
1041 | : | 0
1042 | 58¦2@1+ | 0
1043 | (1,0) | 0
1044 | [0¦3] | 0
1045 | "" | 0
1046 | Vector__XXX | 23
1047 | SG_ | 0
1048 | ST2_Life | 0
1049 | : | 0
1050 | 60¦4@1+ | 0
1051 | (1,0) | 0
1052 | [0¦15] | 0
1053 | "" | 0
1054 | Vector__XXX | 23
1055 | BO_ | 0
1056 | 2558914547 | 0
1057 | B2V_ST3: | 0
1058 | 8 | 0
1059 | Vector__XXX | 23
1060 | SG_ | 0
1061 | ST3_PosInsResist | 0
1062 | : | 0
1063 | 0¦16@1+ | 0
1064 | (1,0) | 0
1065 | [0¦60000] | 0
1066 | "kOhm" | 0
1067 | Vector__XXX | 23
1068 | SG_ | 0
1069 | ST3_NegInsResist | 0
1070 | : | 0
1071 | 16¦16@1+ | 0
1072 | (1,0) | 0
1073 | [0¦60000] | 0
1074 | "kOhm" | 0
1075 | Vector__XXX | 23
1076 | SG_ | 0
1077 | ST3_SystemInsResist | 0
1078 | : | 0
1079 | 32¦16@1+ | 0
1080 | (1,0) | 0
1081 | [0¦60000] | 0
1082 | "kOhm" | 0
1083 | Vector__XXX | 23
1084 | SG_ | 0
1085 | ST3_InsDetectorSts | 0
1086 | : | 0
1087 | 48¦1@1+ | 0
1088 | (1,0) | 0
1089 | [0¦1] | 0
1090 | "" | 0
1091 | Vector__XXX | 23
1092 | BO_ | 0
1093 | 2558980083 | 0
1094 | B2V_ST4: | 0
1095 | 8 | 0
1096 | Vector__XXX | 23
1097 | SG_ | 0
1098 | ST4_Max_Temp | 0
1099 | : | 0
1100 | 0¦8@1+ | 0
1101 | (1,-40) | 0
1102 | [-40¦215] | 0
1103 | "ºC" | 0
1104 | Vector__XXX | 23
1105 | SG_ | 0
1106 | ST4_Min_Temp | 0
1107 | : | 0
1108 | 8¦8@1+ | 0
1109 | (1,-40) | 0
1110 | [-40¦215] | 0
1111 | "ºC" | 0
1112 | Vector__XXX | 23
1113 | SG_ | 0
1114 | ST4_Avg_Temp | 0
1115 | : | 0
1116 | 16¦8@1+ | 0
1117 | (1,-40) | 0
1118 | [-40¦215] | 0
1119 | "ºC" | 0
1120 | Vector__XXX | 23
1121 | SG_ | 0
1122 | ST4_MaxTemp_CSCNo | 0
1123 | : | 0
1124 | 24¦8@1+ | 0
1125 | (1,0) | 0
1126 | [0¦255] | 0
1127 | "" | 0
1128 | Vector__XXX | 23
1129 | SG_ | 0
1130 | ST4_MaxTemp_Pos | 0
1131 | : | 0
1132 | 32¦8@1+ | 0
1133 | (1,0) | 0
1134 | [0¦255] | 0
1135 | "" | 0
1136 | Vector__XXX | 23
1137 | SG_ | 0
1138 | ST4_MinTemp_CSCNo | 0
1139 | : | 0
1140 | 40¦8@1+ | 0
1141 | (1,0) | 0
1142 | [0¦255] | 0
1143 | "" | 0
1144 | Vector__XXX | 23
1145 | SG_ | 0
1146 | ST4_MinTemp_Pos | 0
1147 | : | 0
1148 | 48¦8@1+ | 0
1149 | (1,0) | 0
1150 | [0¦255] | 0
1151 | "" | 0
1152 | Vector__XXX | 23
1153 | BO_ | 0
1154 | 2559045619 | 0
1155 | B2V_ST5: | 0
1156 | 8 | 0
1157 | Vector__XXX | 23
1158 | SG_ | 0
1159 | Max_UCell | 0
1160 | : | 0
1161 | 0¦16@1+ | 0
1162 | (0.001,0) | 0
1163 | [0¦65.535] | 0
1164 | "V" | 0
1165 | Vector__XXX | 23
1166 | SG_ | 0
1167 | Min_UCell | 0
1168 | : | 0
1169 | 16¦16@1+ | 0
1170 | (0.001,0) | 0
1171 | [0¦65.535] | 0
1172 | "V" | 0
1173 | Vector__XXX | 23
1174 | SG_ | 0
1175 | Avg_UCell | 0
1176 | : | 0
1177 | 32¦16@1+ | 0
1178 | (0.001,0) | 0
1179 | [0¦65.535] | 0
1180 | "V" | 0
1181 | Vector__XXX | 23
1182 | BO_ | 0
1183 | 2559111155 | 0
1184 | B2V_ST6: | 0
1185 | 8 | 0
1186 | Vector__XXX | 23
1187 | SG_ | 0
1188 | ST6_MaxUcell_CSCNo | 0
1189 | : | 0
1190 | 0¦8@1+ | 0
1191 | (1,0) | 0
1192 | [0¦255] | 0
1193 | "" | 0
1194 | Vector__XXX | 23
1195 | SG_ | 0
1196 | ST6_MaxUcellPos | 0
1197 | : | 0
1198 | 8¦16@1+ | 0
1199 | (1,0) | 0
1200 | [0¦65535] | 0
1201 | "" | 0
1202 | Vector__XXX | 23
1203 | SG_ | 0
1204 | ST6_MinUcell_CSCNo | 0
1205 | : | 0
1206 | 24¦8@1+ | 0
1207 | (1,0) | 0
1208 | [0¦255] | 0
1209 | "" | 0
1210 | Vector__XXX | 23
1211 | SG_ | 0
1212 | ST6_MinUcellPos | 0
1213 | : | 0
1214 | 32¦16@1+ | 0
1215 | (1,0) | 0
1216 | [0¦65535] | 0
1217 | "" | 0
1218 | Vector__XXX | 23
1219 | BO_ | 0
1220 | 2562977779 | 0
1221 | B2V_ElectricEnergy: | 0
1222 | 8 | 0
1223 | Vector__XXX | 23
1224 | SG_ | 0
1225 | TotalChargeEnergy | 0
1226 | : | 0
1227 | 0¦24@1+ | 0
1228 | (1,0) | 0
1229 | [0¦16777215] | 0
1230 | "kWh" | 0
1231 | Vector__XXX | 23
1232 | SG_ | 0
1233 | TotalDischargeEnergy | 0
1234 | : | 0
1235 | 24¦24@1+ | 0
1236 | (1,0) | 0
1237 | [0¦16777215] | 0
1238 | "kW" | 0
1239 | Vector__XXX | 23
1240 | SG_ | 0
1241 | SingleDischargeEnergy | 0
1242 | : | 0
1243 | 48¦16@1+ | 0
1244 | (0.1,0) | 0
1245 | [0¦6553.5] | 0
1246 | "kWh" | 0
1247 | Vector__XXX | 23
1248 | BO_ | 0
1249 | 2563043315 | 0
1250 | B2V_CurrentLimit: | 0
1251 | 8 | 0
1252 | Vector__XXX | 23
1253 | SG_ | 0
1254 | AvailInPulseDischCurr | 0
1255 | : | 0
1256 | 0¦16@1+ | 0
1257 | (0.1,0) | 0
1258 | [0¦6553.5] | 0
1259 | "A" | 0
1260 | Vector__XXX | 23
1261 | SG_ | 0
1262 | AvailInPulseChargeCurr | 0
1263 | : | 0
1264 | 16¦16@1+ | 0
1265 | (0.1,0) | 0
1266 | [0¦6553.5] | 0
1267 | "A" | 0
1268 | Vector__XXX | 23
1269 | BO_ | 0
1270 | 2550224627 | 0
1271 | B2C_Charger: | 0
1272 | 8 | 0
1273 | Vector__XXX | 23
1274 | SG_ | 0
1275 | VoltageSet | 0
1276 | : | 0
1277 | 0¦16@1+ | 0
1278 | (0.1,0) | 0
1279 | [0¦6553.5] | 0
1280 | "V" | 0
1281 | Vector__XXX | 23
1282 | SG_ | 0
1283 | CurrentSet | 0
1284 | : | 0
1285 | 16¦16@1+ | 0
1286 | (0.1,0) | 0
1287 | [0¦6553.5] | 0
1288 | "A" | 0
1289 | Vector__XXX | 23
1290 | SG_ | 0
1291 | ChargeStatus | 0
1292 | : | 0
1293 | 32¦2@1+ | 0
1294 | (1,0) | 0
1295 | [0¦3] | 0
1296 | "" | 0
1297 | Vector__XXX | 23
1298 | SG_ | 0
1299 | ChargeStopReason | 0
1300 | : | 0
1301 | 34¦2@1+ | 0
1302 | (1,0) | 0
1303 | [0¦3] | 0
1304 | "" | 0
1305 | Vector__XXX | 23
1306 | BO_ | 0
1307 | 2566866420 | 0
1308 | B2TM_Info: | 0
1309 | 8 | 0
1310 | Vector__XXX | 23
1311 | SG_ | 0
1312 | RQ_SetMode_A | 0
1313 | : | 0
1314 | 1¦2@0+ | 0
1315 | (1,0) | 0
1316 | [0¦3] | 0
1317 | "" | 0
1318 | Vector__XXX | 23
1319 | SG_ | 0
1320 | B2T_SetTemp_A | 0
1321 | : | 0
1322 | 39¦8@0+ | 0
1323 | (1,-40) | 0
1324 | [-40¦215] | 0
1325 | "ºC" | 0
1326 | Vector__XXX | 23
1327 | BO_ | 0
1328 | 2566897978 | 0
1329 | TM2B_Info: | 0
1330 | 8 | 0
1331 | Vector__XXX | 23
1332 | SG_ | 0
1333 | T2B_WorkStatus_A | 0
1334 | : | 0
1335 | 1¦2@0+ | 0
1336 | (1,0) | 0
1337 | [0¦3] | 0
1338 | "" | 0
1339 | Vector__XXX | 23
1340 | SG_ | 0
1341 | TM2B_OutletTemp_A | 0
1342 | : | 0
1343 | 15¦8@0+ | 0
1344 | (1,-40) | 0
1345 | [-40¦215] | 0
1346 | "ºC" | 0
1347 | Vector__XXX | 23
1348 | SG_ | 0
1349 | TM2B_InletTemp_A | 0
1350 | : | 0
1351 | 23¦8@0+ | 0
1352 | (1,-40) | 0
1353 | [-40¦215] | 0
1354 | "ºC" | 0
1355 | Vector__XXX | 23
1356 | SG_ | 0
1357 | TM2B_FaultCodeACAN | 0
1358 | : | 0
1359 | 61¦6@0+ | 0
1360 | (1,0) | 0
1361 | [0¦63] | 0
1362 | "" | 0
1363 | Vector__XXX | 23
1364 | SG_ | 0
1365 | TM2B_FaultLevel_A | 0
1366 | : | 0
1367 | 63¦2@0+ | 0
1368 | (1,0) | 0
1369 | [0¦3] | 0
1370 | "" | 0
1371 | Vector__XXX | 23
1372 | BO_ | 0
1373 | 2563108851 | 0
1374 | B2V_ChargeInfo: | 0
1375 | 8 | 0
1376 | Vector__XXX | 23
1377 | SG_ | 0
1378 | VoltageSet | 0
1379 | : | 0
1380 | 0¦16@1+ | 0
1381 | (0.1,0) | 0
1382 | [0¦6553.5] | 0
1383 | "V" | 0
1384 | Vector__XXX | 23
1385 | SG_ | 0
1386 | CurrentSet | 0
1387 | : | 0
1388 | 16¦16@1+ | 0
1389 | (0.1,0) | 0
1390 | [0¦6553.5] | 0
1391 | "A" | 0
1392 | Vector__XXX | 23
1393 | SG_ | 0
1394 | ChrgCtrl | 0
1395 | : | 0
1396 | 32¦2@1+ | 0
1397 | (1,0) | 0
1398 | [0¦3] | 0
1399 | "" | 0
1400 | Vector__XXX | 23
1401 | BO_ | 0
1402 | 2550461423 | 0
1403 | V2B_ChargeStatus: | 0
1404 | 8 | 0
1405 | Vector__XXX | 23
1406 | SG_ | 0
1407 | ChgStart_Cmd | 0
1408 | : | 0
1409 | 36¦2@1+ | 0
1410 | (1,0) | 0
1411 | [0¦3] | 0
1412 | "" | 0
1413 | Vector__XXX | 23
1414 | BA_DEF_ | 0
1415 | "BusType" | 0
1416 | STRING | 0

## Tablas_Valores
Tablas de valores para señales específicas
Mensaje_ID | Mensaje_ID_Hex | Señal | Valor | Texto
2550330351 | 0x9802F3EF | HV_OnOff_Cmd | 0 | Reserved
2550330351 | 0x9802F3EF | HV_OnOff_Cmd | 1 | Power On
2550330351 | 0x9802F3EF | HV_OnOff_Cmd | 2 | Power Off
2550330351 | 0x9802F3EF | HV_OnOff_Cmd | 3 | Invalid
2550330351 | 0x9802F3EF | Aux1_OnOff | 0 | Reserved
2550330351 | 0x9802F3EF | Aux1_OnOff | 1 | Power On
2550330351 | 0x9802F3EF | Aux1_OnOff | 2 | Power Off
2550330351 | 0x9802F3EF | Aux1_OnOff | 3 | Invalid
2550330351 | 0x9802F3EF | Aux2_OnOff | 0 | Reserved
2550330351 | 0x9802F3EF | Aux2_OnOff | 1 | Power On
2550330351 | 0x9802F3EF | Aux2_OnOff | 2 | Power Off
2550330351 | 0x9802F3EF | Aux2_OnOff | 3 | Invalid
2550330351 | 0x9802F3EF | Aux3_OnOff | 0 | Reserved
2550330351 | 0x9802F3EF | Aux3_OnOff | 1 | Power On
2550330351 | 0x9802F3EF | Aux3_OnOff | 2 | Power Off
2550330351 | 0x9802F3EF | Aux3_OnOff | 3 | Invalid
2550330351 | 0x9802F3EF | MainPosRelay_Status | 0 | Reserved
2550330351 | 0x9802F3EF | MainPosRelay_Status | 1 | Opened
2550330351 | 0x9802F3EF | MainPosRelay_Status | 2 | Closed
2550330351 | 0x9802F3EF | MainPosRelay_Status | 3 | Signal Invalid
2550330351 | 0x9802F3EF | MainPosRelay_Fault | 0 | Normal
2550330351 | 0x9802F3EF | MainPosRelay_Fault | 1 | Weld
2550330351 | 0x9802F3EF | MainPosRelay_Fault | 2 | Opened Fault
2550330351 | 0x9802F3EF | MainPosRelay_Fault | 3 | Signal Invalid
2550330351 | 0x9802F3EF | MainNegRelay_Status | 0 | Reserved
2550330351 | 0x9802F3EF | MainNegRelay_Status | 1 | Opened
2550330351 | 0x9802F3EF | MainNegRelay_Status | 2 | Closed
2550330351 | 0x9802F3EF | MainNegRelay_Status | 3 | Signal Invalid
2550330351 | 0x9802F3EF | MainNegRelay_Fault | 0 | Normal
2550330351 | 0x9802F3EF | MainNegRelay_Fault | 1 | Weld
2550330351 | 0x9802F3EF | MainNegRelay_Fault | 2 | Opened Fault
2550330351 | 0x9802F3EF | MainNegRelay_Fault | 3 | Signal Invalid
2550330351 | 0x9802F3EF | ChargePosRelay_Status | 0 | Reserved
2550330351 | 0x9802F3EF | ChargePosRelay_Status | 1 | Opened
2550330351 | 0x9802F3EF | ChargePosRelay_Status | 2 | Closed
2550330351 | 0x9802F3EF | ChargePosRelay_Status | 3 | Signal Invalid
2550330351 | 0x9802F3EF | ChargePosRelay_Fault | 0 | Normal
2550330351 | 0x9802F3EF | ChargePosRelay_Fault | 1 | Weld
2550330351 | 0x9802F3EF | ChargePosRelay_Fault | 2 | Opened Fault
2550330351 | 0x9802F3EF | ChargePosRelay_Fault | 3 | Signal Invalid
2550330351 | 0x9802F3EF | HeatPosRelay_Status | 0 | Reserved
2550330351 | 0x9802F3EF | HeatPosRelay_Status | 1 | Opened
2550330351 | 0x9802F3EF | HeatPosRelay_Status | 2 | Closed
2550330351 | 0x9802F3EF | HeatPosRelay_Status | 3 | Signal Invalid
2550330351 | 0x9802F3EF | HeatPosRelay_Fault | 0 | Normal
2550330351 | 0x9802F3EF | HeatPosRelay_Fault | 1 | Weld
2550330351 | 0x9802F3EF | HeatPosRelay_Fault | 2 | Opened Fault
2550330351 | 0x9802F3EF | HeatPosRelay_Fault | 3 | Signal Invalid
2550330351 | 0x9802F3EF | HeatNegRelay_Status | 0 | Reserved
2550330351 | 0x9802F3EF | HeatNegRelay_Status | 1 | Opened
2550330351 | 0x9802F3EF | HeatNegRelay_Status | 2 | Closed
2550330351 | 0x9802F3EF | HeatNegRelay_Status | 3 | Signal Invalid
2550330351 | 0x9802F3EF | HeatNegRelay_Fault | 0 | Normal
2550330351 | 0x9802F3EF | HeatNegRelay_Fault | 1 | Weld
2550330351 | 0x9802F3EF | HeatNegRelay_Fault | 2 | Opened Fault
2550330351 | 0x9802F3EF | HeatNegRelay_Fault | 3 | Signal Invalid
2550330351 | 0x9802F3EF | AuxRelay1_Status | 0 | Reserved
2550330351 | 0x9802F3EF | AuxRelay1_Status | 1 | Opened
2550330351 | 0x9802F3EF | AuxRelay1_Status | 2 | Closed
2550330351 | 0x9802F3EF | AuxRelay1_Status | 3 | Signal Invalid
2550330351 | 0x9802F3EF | AuxRelay1_Fault | 0 | Normal
2550330351 | 0x9802F3EF | AuxRelay1_Fault | 1 | Weld
2550330351 | 0x9802F3EF | AuxRelay1_Fault | 2 | Opened Fault
2550330351 | 0x9802F3EF | AuxRelay1_Fault | 3 | Signal Invalid
2550330351 | 0x9802F3EF | AuxRelay2_Status | 0 | Reserved
2550330351 | 0x9802F3EF | AuxRelay2_Status | 1 | Opened
2550330351 | 0x9802F3EF | AuxRelay2_Status | 2 | Closed
2550330351 | 0x9802F3EF | AuxRelay2_Status | 3 | Signal Invalid
2550330351 | 0x9802F3EF | AuxRelay2_Fault | 0 | Normal
2550330351 | 0x9802F3EF | AuxRelay2_Fault | 1 | Weld
2550330351 | 0x9802F3EF | AuxRelay2_Fault | 2 | Opened Fault
2550330351 | 0x9802F3EF | AuxRelay2_Fault | 3 | Signal Invalid
2550330351 | 0x9802F3EF | AuxRelay3_Status | 0 | Reserved
2550330351 | 0x9802F3EF | AuxRelay3_Status | 1 | Opened
2550330351 | 0x9802F3EF | AuxRelay3_Status | 2 | Closed
2550330351 | 0x9802F3EF | AuxRelay3_Status | 3 | Signal Invalid
2550330351 | 0x9802F3EF | AuxRelay3_Fault | 0 | Normal
2550330351 | 0x9802F3EF | AuxRelay3_Fault | 1 | Weld
2550330351 | 0x9802F3EF | AuxRelay3_Fault | 2 | Opened Fault
2550330351 | 0x9802F3EF | AuxRelay3_Fault | 3 | Signal Invalid
2550330351 | 0x9802F3EF | AuxRelay4_Status | 0 | Reserved
2550330351 | 0x9802F3EF | AuxRelay4_Status | 1 | Opened
2550330351 | 0x9802F3EF | AuxRelay4_Status | 2 | Closed
2550330351 | 0x9802F3EF | AuxRelay4_Status | 3 | Signal Invalid
2550330351 | 0x9802F3EF | AuxRelay4_Fault | 0 | Normal
2550330351 | 0x9802F3EF | AuxRelay4_Fault | 1 | Weld
2550330351 | 0x9802F3EF | AuxRelay4_Fault | 2 | Opened Fault
2550330351 | 0x9802F3EF | AuxRelay4_Fault | 3 | Signal Invalid
2550395887 | 0x9803F3EF | ISO_WorkSts | 0 | Selfcheck
2550395887 | 0x9803F3EF | ISO_WorkSts | 1 | Working
2550395887 | 0x9803F3EF | ISO_WorkSts | 2 | Stop Work
2550395887 | 0x9803F3EF | ISO_WorkSts | 3 | Equipment failure
2550395887 | 0x9803F3EF | ISO_FaultLevel | 0 | Normal
2550395887 | 0x9803F3EF | ISO_FaultLevel | 1 | Level 1 - Light Fault
2550395887 | 0x9803F3EF | ISO_FaultLevel | 2 | Level 2 - More Severe Fault
2550395887 | 0x9803F3EF | ISO_FaultLevel | 3 | Level 3 - Most Severe Fault
2565009395 | 0x98E2EFF3 | BatteryType | 1 | Lead-Acid
2565009395 | 0x98E2EFF3 | BatteryType | 2 | MH
2565009395 | 0x98E2EFF3 | BatteryType | 3 | LEP
2565009395 | 0x98E2EFF3 | BatteryType | 6 | NCM
2565009395 | 0x98E2EFF3 | BatteryType | 7 | LiPo
2565009395 | 0x98E2EFF3 | BatteryType | 9 | Super-Capacitor
2565009395 | 0x98E2EFF3 | BatteryType | 14 | Fuel
2565009395 | 0x98E2EFF3 | CoolingType | 0 | Other
2565009395 | 0x98E2EFF3 | CoolingType | 1 | Natural
2565009395 | 0x98E2EFF3 | CoolingType | 2 | Fan
2565009395 | 0x98E2EFF3 | CoolingType | 3 | Water
2558652403 | 0x9881EFF3 | Fult1_DeltaTemp | 0 | Normal
2558652403 | 0x9881EFF3 | Fult1_DeltaTemp | 1 | Level 1 - Light Fault
2558652403 | 0x9881EFF3 | Fult1_DeltaTemp | 2 | Level 2 - More Severe Fault
2558652403 | 0x9881EFF3 | Fult1_DeltaTemp | 3 | Level 3 - Most Severe Fault
2558652403 | 0x9881EFF3 | Fult1_OverTemp | 0 | Normal
2558652403 | 0x9881EFF3 | Fult1_OverTemp | 1 | Level 1 - Light Fault
2558652403 | 0x9881EFF3 | Fult1_OverTemp | 2 | Level 2 - More Severe Fault
2558652403 | 0x9881EFF3 | Fult1_OverTemp | 3 | Level 3 - Most Severe Fault
2558652403 | 0x9881EFF3 | Fult1_PackOverHVolt | 0 | Normal
2558652403 | 0x9881EFF3 | Fult1_PackOverHVolt | 1 | Level 1 - Light Fault
2558652403 | 0x9881EFF3 | Fult1_PackOverHVolt | 2 | Level 2 - More Severe Fault
2558652403 | 0x9881EFF3 | Fult1_PackOverHVolt | 3 | Level 3 - Most Severe Fault
2558652403 | 0x9881EFF3 | Fult1_PackLowHVVolt | 0 | Normal
2558652403 | 0x9881EFF3 | Fult1_PackLowHVVolt | 1 | Level 1 - Light Fault
2558652403 | 0x9881EFF3 | Fult1_PackLowHVVolt | 2 | Level 2 - More Severe Fault
2558652403 | 0x9881EFF3 | Fult1_PackLowHVVolt | 3 | Level 3 - Most Severe Fault
2558652403 | 0x9881EFF3 | Fult1_LowSOC | 0 | Normal
2558652403 | 0x9881EFF3 | Fult1_LowSOC | 1 | Level 1 - Light Fault
2558652403 | 0x9881EFF3 | Fult1_LowSOC | 2 | Level 2 - More Severe Fault
2558652403 | 0x9881EFF3 | Fult1_LowSOC | 3 | Level 3 - Most Severe Fault
2558652403 | 0x9881EFF3 | Fult1_OverUcell | 0 | Normal
2558652403 | 0x9881EFF3 | Fult1_OverUcell | 1 | Level 1 - Light Fault
2558652403 | 0x9881EFF3 | Fult1_OverUcell | 2 | Level 2 - More Severe Fault
2558652403 | 0x9881EFF3 | Fult1_OverUcell | 3 | Level 3 - Most Severe Fault
2558652403 | 0x9881EFF3 | Fult1_LowInsRes | 0 | Normal
2558652403 | 0x9881EFF3 | Fult1_LowInsRes | 1 | Level 1 - Light Fault
2558652403 | 0x9881EFF3 | Fult1_LowInsRes | 2 | Level 2 - More Severe Fault
2558652403 | 0x9881EFF3 | Fult1_LowInsRes | 3 | Level 3 - Most Severe Fault
2558652403 | 0x9881EFF3 | Fult1_UcellUniformity | 0 | Normal
2558652403 | 0x9881EFF3 | Fult1_UcellUniformity | 1 | Level 1 - Light Fault
2558652403 | 0x9881EFF3 | Fult1_UcellUniformity | 2 | Level 2 - More Severe Fault
2558652403 | 0x9881EFF3 | Fult1_UcellUniformity | 3 | Level 3 - Most Severe Fault
2558717939 | 0x9882EFF3 | Fult2_OverDischrgCurr | 0 | Normal
2558717939 | 0x9882EFF3 | Fult2_OverDischrgCurr | 1 | Level 1 - Light Fault
2558717939 | 0x9882EFF3 | Fult2_OverDischrgCurr | 2 | Level 2 - More Severe Fault
2558717939 | 0x9882EFF3 | Fult2_OverDischrgCurr | 3 | Level 3 - Most Severe Fault
2558717939 | 0x9882EFF3 | Fult2_OverChgCurrDrive | 0 | Normal
2558717939 | 0x9882EFF3 | Fult2_OverChgCurrDrive | 1 | Level 1 - Light Fault
2558717939 | 0x9882EFF3 | Fult2_OverChgCurrDrive | 2 | Level 2 - More Severe Fault
2558717939 | 0x9882EFF3 | Fult2_OverChgCurrDrive | 3 | Level 3 - Most Severe Fault
2558783475 | 0x9883EFF3 | ST1_MainPosRelaySts | 0 | Reserved
2558783475 | 0x9883EFF3 | ST1_MainPosRelaySts | 1 | Opened
2558783475 | 0x9883EFF3 | ST1_MainPosRelaySts | 2 | Closed
2558783475 | 0x9883EFF3 | ST1_MainPosRelaySts | 3 | Signal Invalid
2558783475 | 0x9883EFF3 | ST1_MainNegRelaySts | 0 | Reserved
2558783475 | 0x9883EFF3 | ST1_MainNegRelaySts | 1 | Opened
2558783475 | 0x9883EFF3 | ST1_MainNegRelaySts | 2 | Closed
2558783475 | 0x9883EFF3 | ST1_MainNegRelaySts | 3 | Signal Invalid
2558783475 | 0x9883EFF3 | ST1_PrechargeRelaySts | 0 | Reserved
2558783475 | 0x9883EFF3 | ST1_PrechargeRelaySts | 1 | Opened
2558783475 | 0x9883EFF3 | ST1_PrechargeRelaySts | 2 | Closed
2558783475 | 0x9883EFF3 | ST1_PrechargeRelaySts | 3 | Signal Invalid
2558783475 | 0x9883EFF3 | ST1_DCChargePos1RelaySts | 0 | Reserved
2558783475 | 0x9883EFF3 | ST1_DCChargePos1RelaySts | 1 | Opened
2558783475 | 0x9883EFF3 | ST1_DCChargePos1RelaySts | 2 | Closed
2558783475 | 0x9883EFF3 | ST1_DCChargePos1RelaySts | 3 | Signal Invalid
2558783475 | 0x9883EFF3 | ST1_DCChargeNeg1RelaySts | 0 | Reserved
2558783475 | 0x9883EFF3 | ST1_DCChargeNeg1RelaySts | 1 | Opened
2558783475 | 0x9883EFF3 | ST1_DCChargeNeg1RelaySts | 2 | Closed
2558783475 | 0x9883EFF3 | ST1_DCChargeNeg1RelaySts | 3 | Signal Invalid
2558783475 | 0x9883EFF3 | ST1_HeatPosRelaySts | 0 | Reserved
2558783475 | 0x9883EFF3 | ST1_HeatPosRelaySts | 1 | Opened
2558783475 | 0x9883EFF3 | ST1_HeatPosRelaySts | 2 | Closed
2558783475 | 0x9883EFF3 | ST1_HeatPosRelaySts | 3 | Signal Invalid
2558783475 | 0x9883EFF3 | ST1_HeatNegRelaySts | 0 | Reserved
2558783475 | 0x9883EFF3 | ST1_HeatNegRelaySts | 1 | Opened
2558783475 | 0x9883EFF3 | ST1_HeatNegRelaySts | 2 | Closed
2558783475 | 0x9883EFF3 | ST1_HeatNegRelaySts | 3 | Signal Invalid
2558783475 | 0x9883EFF3 | ST1_BMS_HVStatus | 0 | HV Open
2558783475 | 0x9883EFF3 | ST1_BMS_HVStatus | 1 | Precharge or Precheck
2558783475 | 0x9883EFF3 | ST1_BMS_HVStatus | 2 | HV Closed
2558783475 | 0x9883EFF3 | ST1_BMS_HVStatus | 3 | Fail to HV on
2558783475 | 0x9883EFF3 | ST1_ChargeMode | 0 | Not charging
2558783475 | 0x9883EFF3 | ST1_ChargeMode | 1 | DC Charging
2558783475 | 0x9883EFF3 | ST1_ChargeMode | 2 | AC Charging
2558783475 | 0x9883EFF3 | ST1_ChargeMode | 3 | Other Charging
2558849011 | 0x9884EFF3 | ST2_FaultLevel | 0 | Normal
2558849011 | 0x9884EFF3 | ST2_FaultLevel | 1 | Weld
2558849011 | 0x9884EFF3 | ST2_FaultLevel | 2 | Opened Fault
2558849011 | 0x9884EFF3 | ST2_FaultLevel | 3 | Signal Invalid
2558849011 | 0x9884EFF3 | ST2_ReqHVPwrOff | 0 | Signal Invalid
2558849011 | 0x9884EFF3 | ST2_ReqHVPwrOff | 1 | Require Power Off
2558849011 | 0x9884EFF3 | ST2_ReqHVPwrOff | 2 | Not Require Power Off
2558849011 | 0x9884EFF3 | ST2_ReqHVPwrOff | 3 | Signal Invalid
2550224627 | 0x980156F3 | ChargeStatus | 1 | Charging enabled
2550224627 | 0x980156F3 | ChargeStatus | 2 | Charging disabled
2550224627 | 0x980156F3 | ChargeStatus | 3 | Signal invalid
2550224627 | 0x980156F3 | ChargeStopReason | 1 | VCU Stop Reason
2550224627 | 0x980156F3 | ChargeStopReason | 2 | BMS Stop Charging
2550224627 | 0x980156F3 | ChargeStopReason | 3 | Signal Invalid
2566866420 | 0x98FF45F4 | RQ_SetMode_A | 0 | Shutdown mode
2566866420 | 0x98FF45F4 | RQ_SetMode_A | 1 | Cooling mode
2566866420 | 0x98FF45F4 | RQ_SetMode_A | 2 | Heat mode
2566866420 | 0x98FF45F4 | RQ_SetMode_A | 3 | Self-loop mode
2563108851 | 0x98C5EFF3 | ChrgCtrl | 0 | Start to charge
2563108851 | 0x98C5EFF3 | ChrgCtrl | 1 | Normal Stop to charge
2563108851 | 0x98C5EFF3 | ChrgCtrl | 2 | Fault, Stop to charge
2550461423 | 0x9804F3EF | ChgStart_Cmd | 0 | Not charging
2550461423 | 0x9804F3EF | ChgStart_Cmd | 1 | Allow charging
2550461423 | 0x9804F3EF | ChgStart_Cmd | 2 | Stop charging
2550461423 | 0x9804F3EF | ChgStart_Cmd | 3 | Invalid

## Atributos
Atributos definidos en el archivo DBC
Atributo | Tipo | Objetivo | Valor
BusType | STRING | global | "CAN"
GenMsgCycleTime | unknown | global | BO_ 2550461423 500
GenSigStartValue | unknown | global | SG_ 2550461423 ChgStart_Cmd 0